## Slide 1: EEL 3004 Electrical Networks Lecture #18 Phasor (Frequency-Domain) Circuits Analysis

## Slide 2: Lecture Objectives
The lecture today will focus on:
Important notes about the frequency-domain or Phasor analysis
Using different analysis techniques in the frequency-domain, such as source transformation, mesh and nodal analysis.

## Slide 3: Sinusoidal Steady State Analysis Chapter Outline
Chapter 8
Introduction
8.1 Sinusoidal Signals
8.2 Sinusoidal Response - Skip
8.3 Phasor Representation of Circuit Elements
8.4 Phasor Circuit Analysis Techniques
8.5 Phasor Diagram - Skip
Chapter Summary
Problems

## Slide 4: Announcements
H.W. #7 – Open from Wed Friday March 20 - 26 Midnight
Topic: Chapter 8 - AC Phasors – Lectures 17-19

## Slide 5
Phasor circuits allow for the use of powerful analysis techniques such as nodal and mesh analysis to obtain steady state voltages and currents in AC circuits.
Given the time-domain circuits – time domain analysis used (Chapter 2-6) – complex with R,L, C circuits
Given the phasor-domain (frequency-domain) equivalent circuits, then we used phasor-analysis to find all voltages, currents and powers everywhere in the circuit – Simpler with R,L, C circuits
Review - Analysis of Phasor Circuits

## Slide 6
phasors refer only to complex numbers that are associated with coefficient peak of the sinusoidal voltage or current and the associated phase-shift.
The impedance is a complex number, but not a phasor since it has no association to time-domain cosine function.
It is mathematically incorrect to mix the two domains of the equivalent circuit schematic.
Important Notes

## Slide 7
The process of applying the phasor concept:
0) Adopt the cosine function as a reference.
1) Transform sources and elements form time domain to frequency domain.
Phasor Analysis Approach
Time Domain | Phasor Domain
R | R
L | ZL = jL
C | ZC = 1/jC
v | V
Time Domain | Phasor Domain
R | R
L | ZL = jL
C | ZC = 1/jC
2) establish the relationship between the phasor current, I, and phasor voltage, V, for each passive circuit elements R, L and C.
Notice that voltage and current sources should be in cosine reference.

## Slide 8
3) Develop the corresponding phasor circuit with all its voltage and current sources, and element impedances expressed in phasor.
4) Now the circuit is known as a phasor circuit and we are in the phasor or frequency-domain.
5) The circuit analysis process is carried out completely in the complex notations establishing KVL, KCL and ohm’s Law equations in phasor-domain.
6) Last step, transfer all phasor solutions to time domain values.
Phasor Analysis Approach (cont’d)

## Slide 9
Sinusoidal Functions

## Slide 10
Sinusoidal Functions

## Slide 11
Sinusoidal Function Values
Average or DC value:
Amplitude or rms value:
Frequency values:
Amplitude or peak value:
or
Given sinusoidal functions:

## Slide 12
Sinusoidal Functions
Example:
For a given sinusoidal current expressed by , where and .
Determine the:
a) Period.
b) Frequency.
c) The magnitude of at
d) The DC value.
e) The rms value.

## Slide 13
Sinusoidal Functions
Solution:
To calculate the period, we use the following formula,
b) To calculate the frequency, we use the following formula,
c) To calculate the magnitude of, we simply substitute values,

## Slide 14
Sinusoidal Functions
d) To calculate the DC value, we can either use the formula, or since we are dealing with a sinusoidal function we know it’s zero,
Recall,

## Slide 15
Sinusoidal Functions
e) To calculate the rms value, we use the formula,
Recall,

## Slide 16
Sinusoidal Functions

## Slide 17
Phase-Shift (delay) in Sinusoidal Functions
i) Time-domain shift
ii) Degree-domain shift

## Slide 18
Cosine Reference
Waveform shifted from the origin of the reference waveform above
Time-domain Phase-Shift in Sinusoidal Functions

## Slide 19
In this example. The waveform is shifted from the reference waveform above
Degree-domain Phase-Shift in Sinusoidal Functions
Cosine Reference

## Slide 20
Phase-shift
)
Expressing the time-domain Phase-Shift
or
in Radiance)
in Degrees)

## Slide 21
Phase-Shift in Sinusoidal Functions
by
by

## Slide 22
Sinusoidal Functions
Example
Find the sinusoidal expression for a signal that has a peak current offrequencyand the value at is
Solution:
To find an expression, we can either use a sine or a cosine function, and then shift it left or right as necessary, but first we should calculate the radian frequency,
Since at . Then the is negative cosine, i.e.
And an expression for the function could be any of the expressions below, or anything equivalent,

## Slide 23
Sinusoidal Functions
Example:
Express the following sinusoidal sine function as one term cosine function, where
Solution:
This sinusoidal sine function can be expressed as follows,
)

## Slide 24
Sinusoidal Functions
Example:
Express the following sinusoidal sine function as one term cosine function where
Where & A1 > 0 and A2 > 0
Where & A1 > 0 and A2 > 0
Recall,

## Slide 25
Sinusoidal Functions
Example:
Express the following sinusoidal sine function as one term cosine function where
Solution:
This sinusoidal sine function can be expressed as follows,
Where,
Thus,

## Slide 26
Steady-state phasor analysis

## Slide 27
Impedance Calculations
Example:
Determine the equivalent impedance, seen between the terminals “ab”
Draw the equivalent simplified circuit consisting of single R, L or C connected in series.
Where

## Slide 28
Impedance Calculations
Phasor Circuit
The equivalent impedance is equal to,
The equivalent simplified circuit

## Slide 29
Example of a Simple Circuits
Determine the expression for the current.
For the given RL circuit, the voltage input is given by:
Time-domain circuit

## Slide 30
Simple Circuits
Next, we transform the circuit into the phasor-domain:
First, we covert the voltage source to a cosine form,
The phasor voltage,

## Slide 31
Simple Circuits
One way to calculate the phasor current, we calculate the total impedance
|
In polar form, is given by,

## Slide 32
Simple Circuits
Then using Ohm’s Law we calculate the current,
Transforming the current back to the time-domain yields,

## Slide 33
For the given RLC circuit shown below. The voltage input is given by
.
Determine the expression for.
Example:
Solution:
Express the voltage source in cosine function,
.

## Slide 34
Solution (cont’d):
Next, we transform the circuit into the phasor-domain as shown,
Let us represent the circuit by the impedances Z1, Z2 and Z3 as shown,
Z1 =R Z2 = jL Z3= )
Applying KVL around the circuit yields,
Solving for yields,
Where,
Z1
Z2
Z3=
Where,

## Slide 35
Now applying Ohm’s Law for the capacitor yields,
=
In time domain,
.

## Slide 36
Example:
Find the steady-state response for and in the circuit shown assuming the source current is given by

## Slide 37
Solution:
The phasor circuit is shown
Let us represent the circuit by the impedances Z1, Z2 and Z3 as shown,
Where,
)
Taking Z1 and Z2 in parallel, we obtain
Where,

## Slide 38
Solution:
Applying current division, we obtain I12
In time-domain,
Using Current division again,
Hence, in time domain,

## Slide 39
Solution:
Given, the following phasor circuit. What is expression for the total impedance seen by the voltage sources?
Let us represent the circuit by the impedances Z1, Z2 and Z3 as shown,
Z1 =R Z2 = jL Z3= )
The total impedance is given by,
None of the above
Problem:

## Slide 40
Solution:
Given, the following phasor circuit. What is correct expression for that will make the total impedance be REAL part only?
Let us represent the circuit by the impedances Z1, Z2 and Z3 as shown,
Z1 =R Z2 = jL Z3= )
The total impedance is given by,
For to be real part, we must have,
=0
=0
Solving for ,
None of the above

## Slide 41
The same concept of source transformations in resistive circuits applies to the phasor-domain.
Where,
Impedance Source Transformation Analysis
The two circuits are equivalent

## Slide 42
Example
For the given circuit, the voltage input is given by:
Determine the expressions ix(t) and vx(t).
Variable | Values | Unit
Vm | 10 | V
 | 3000 | rad/s
 | π/3 | rad
R1 | 5 | Ω
R2 | 18 | Ω
L | 0.2 | mH
C | 0.8 | mF

## Slide 43
1) First we transform the time-domain circuit into the phasor-domain,
2) Second solve for phasor currents and voltages as complex
numbers by using any analysis method.
The goal is to slove for all phasor values:
3) Transform the phasor domain values to time domain.
Solution:

## Slide 44
Let us use the nodal method by assigning a phasor nodal voltage V1
Where phasor is given by,

## Slide 45
Applying KCL at the node V1 yields,
Solving for V1

## Slide 46
Calculating the current Ix,

## Slide 47
Calculating the voltage Vx using voltage division,

## Slide 48
Transforming back the voltage Vx back to the time-domain,
Transforming the current Ix back to the time-domain,