## Slide 1: EEL 3004 Electrical Networks Lecture #25 Course Review Topics

## Slide 2: Final Exam
Comprehensive online - Final Week
April 21, 2020
(1 PM – 4PM)
Between 25-30 Questions
Mostly multiple choice

## Slide 3: Lecture Objectives
The lecture today will focus on:
Review of the following topics:
Electrical Quantities
Basic Resistive Circuit Analysis
Advanced Circuit Analysis
RC and RL circuits (DC + Transients)
AC Phasor Analysis Technique
Power Calculations & Power Factor
Introduction to three-phase circuits (Lecture #24)

## Slide 4
Charge on an electron, qe = -1.602x10-19 coulombs.
The current, i(t), is the time rate of change of the electrical charge, q, passing through a predetermined area,
Current must have arrow direction be labeled indicating the current direction in a given wire.
Electrical Quantities

## Slide 5
Voltage is the total work per unit charge associated with the motion of charge between two points, i.e., the rate of change of work or energy with respect to charge.
Voltage must have sign polarities – or + be labeled across the element where measurement is taken.
Electrical Quantities

## Slide 6
Energy is the multiplication of power (watts) and time (seconds).
Power is the amount of energy required or expended for a given unit of time.
Where p is power in watts (W), w is energy in joules (J), and t is time in seconds (s).
The law of conservation of energy states that the total power generated in a given electrical network must equal the total power dissipated in the same network
Electrical Quantities
p
p

## Slide 7
Single loop circuits are circuits where all elements of the circuits are connected in series, usually one KVL equation needed around the loop.
Single-node-pair circuits are circuits where all the circuit elements are connected across the same pair of nodes, usually one KCL equation needed to be written at one of the nodes.
Basic Resistive Circuit Analysis

## Slide 8
The Intuitive Method of circuit reduction reduces the number of components to an equivalent simplified circuit, where the final number of nodes and loops are significantly reduced.
Elements with currents and voltages of interest are left alone as given in the original circuit.
Does not follow a specific procedure, but rather depends on experience.
Basic Resistive Circuit Analysis

## Slide 9: Kirchoff’s Voltage Law
The algebraic sum of all voltages in a closed circuit is equal to zero.
(KVL is a law of conservation of energy (zero net change in energy).
Where: Vn is the voltage across branch n.
Apply KVL around the loop:
Mathematically, KVL can be written more compactly as follows,
where,
is the voltage of the element for .
Closed circuit - Loop

## Slide 10
Kirchhoff's Current Law
The sum of all currents i1, i2, …in at any node is equal to 0.
Mathematically, KCL is given by,
is the current of the element for .

## Slide 11
Branch current, nodal-voltage and advanced theorems based analysis by applying Ohm’s and Kirchhoff's laws.
Superposition Principle states that the branch current and voltage responses obtained, is equal to the algebraic sum of each current and voltage response obtained from the contribution of each independent source acting alone.
This circuit analysis method only applies to linear circuits.
Advanced Circuit Analysis

## Slide 12
Thevenin’s theorem states that a linear one port network consisting of independent and dependent sources and resistors can be replaced by a series connection of Thevenin’s resistance, RTh, and independent Thevenin’s voltage source, vTh.
Norton’s theorem states that a linear one port network can be replaced by equivalent circuits consist of the parallel combination of a current source, iN , and equivalent resistance, RN.
Advanced Circuit Analysis

## Slide 13
Example
Solve for the current flowing in the resistance R by applying the Principle of Superposition.
Variable | Default | Unit
V1 | 16 | V
V2 | 14 | V
I | 8 | A
R | 10 | Ω
R1 | 8 | Ω
R3 | 6 | Ω
R4 | 4 | Ω
g | 2 | Ω

## Slide 14
There are three sources: Voltage V1, Voltage V2 and Current I:
Assigning Mesh currents to find
1) Applying voltage V1 and set the voltage source V2 and current source I to zero (short and open circuit respectively)

## Slide 15
Applying KVL to the loops,
By inspection,
Solving for i1 and i2,
Solving for i1,R,

## Slide 16
Applying KVL to the loops,
By inspection,
2) Applying voltage V2 and set the voltage source V1 and current source I to zero (short and open circuit respectively)

## Slide 17
Solving for i1 and i2,
2) Applying voltage V2 and set the voltage source V1 and current source I to zero (short and open circuit respectively)
Solving for i2,R,

## Slide 18
Applying KVL to the loop,
The equation of the current source,
By inspection,
3) Applying current I and set the voltage sources V1 and V2 to zero (short circuits)
Super Mesh

## Slide 19
Solving for i1, i2 and i3,
3) Applying current I and set the voltage sources V1 and V2 to zero (short circuits)
Solving for i3,R,

## Slide 20
By applying superposition principle:

## Slide 22
Example
Solve for the current flowing in the resistance R.
Variable | Values | Unit
V1 | 24 | V
V2 | 20 | V
I | 12 | A
R | 18 | Ω
R1 | 18 | Ω
R2 | 14 | Ω

## Slide 23
Solution A: Use the Superposition concept
Solution B: Use the Nodal Analysis method
Solution C: Use the Nodal Analysis method with different ground location than Solution B.
Solution D: Use Y-Δ transformation
Solution E: Use Thevenin Theorem
Let us consider four solution methods:

## Slide 24
There are three sources: Voltage V1, V2 and Current I:
Applying voltage V1 and setting the voltage source V2 and current source I to zero (short and open circuit respectively)
Simplifying the circuit,
Solution A:

## Slide 25
Combine R and R2 into Req and solve for the current going through the loop.
The resistance Req is given by,
Solution A:
The current i is given by,

## Slide 26
The current i1,R can be found using current divider on the branch
Solution A (cont’d):

## Slide 27
Applying voltage V1 and setting the voltage source V2 and current source I to zero (short and open circuit respectively)
Simplifying the circuit,
Solution A (cont’d):

## Slide 28
Combine R and R1 into Req and solve for the current going through the loop.
The resistance Req is given by,
The current i is given by,
Solution A (cont’d):

## Slide 29
The current i2,R can be found using current divider on the branch
Solution A (cont’d):

## Slide 30
Applying current I and setting the voltage source V1 and voltage source V2 to zero (short circuits)
It can be seen that the equivalent resistance seen by the current source is equal to zero since all resistors are shorted.
Therefore,
Solution A (cont’d):

## Slide 31
Applying current I and setting the voltage source V1 and voltage source V2 to zero (short circuits)
It can be seen that the equivalent resistance seen by the current source is equal to zero since all resistors are shorted.
Therefore,
Solution A (cont’d):

## Slide 32
Applying only voltage V1,
Applying only current source I,
Summary of Solution A
Applying only voltage V2,
By applying the superposition principle:

## Slide 33
Solution B

## Slide 34
Solution B

## Slide 35
Solution B

## Slide 36
Solution C

## Slide 37
Solution C

## Slide 38
Solution C

## Slide 39
Solution C

## Slide 40
Solution C

## Slide 41
Solution D

## Slide 42
Solution D

## Slide 43
Solution D

## Slide 44
Solution D

## Slide 45
Solution D

## Slide 46
Solution D

## Slide 47
Solution D

## Slide 48
E) Solution E: Use Thevenin Theorem

## Slide 49
i) Find RTh by setting V1=V2=0 and I=0 as follows

## Slide 50
ii) Find VTh which is the open circuit voltage as follows

## Slide 53
Consider the Linear Resistive Circuit.
Maximum Power Transfer
Replace the entire circuit to the left by its Thevenin equivalent.

## Slide 54
Replace the load current, iL, by the circuit parameters as follows,
Substitute for iL,
Maximum Power Transfer

## Slide 55
Sketch a plot of pLoad vs. RLoad for given values of vTh and RTh,
Maximum Power Transfer
?

## Slide 56
Maximum Power Transfer
Set RLoad value so that the pLoad vs. RLoad plot is at its maximum value.
For a given circuit, we recognize that its parameters are fixed, i.e., vTh and RTh, and the goal is to set the adjustable value of RLoad so that pLoad is maximum.

## Slide 57
Differentiate pLoad with respect to RLoad,
Setting to zero will result in maximum power,
It is clear that is equal to zero when,
This results in the following important relation,
Maximum Power Transfer

## Slide 58
Like the resistor, the capacitor exhibits an algebraic relationship between its branch voltage and the stored charge on its plate.
Time varying voltage applied across the capacitor will induce current flow in the capacitor caused by charge variations through the charging process.
Constant voltage (DC) applied across the capacitor will result in zero capacitor current.
If the voltage across the capacitor changes its value instantly i.e. dt=0, then an infinite current is required. hence,
Capacitor Observations

## Slide 59
When time varying current is applied across the inductor, it induces voltage across the inductor winding caused by magnetic field variation.
When the inductor current is a fixed DC value, there is no voltage induced across it.
If the inductor current changes its value instantly i.e. dt=0, then the resultant induced voltage will be infinity. hence,
Inductor Observations
Like the resistor, the inductor exhibits an algebraic relationship between its terminal current and the induced magnetic flux in the core.
RECALL

## Slide 60
If the circuit consists only of direct current and voltage sources (dc), then the capacitor behaves as an open circuit, and the inductor behaves as a short circuit.
RLC circuits with DC sources and NO Switching
(Steady-state)
Under DC conditions – the circuit has been undisturbed for a long time

## Slide 61
IMPORTANT DEFINITIONS
Natural Response of RC circuits
For t < 0, we let
For t > 0, we let
Therefore, for the capacitor:
=

## Slide 62
Finding the Natural Response of RC circuits
Find for t < 0 (Before the switching action took place)
We follow two-step process:
=
But, since we have dc sources and no switching action for long time, the capacitor voltage is constant and is equal to,
For all time t < 0
II) Find for t > 0 (After the switching action took place)
The new circuit
An ordinary 1st order DEQ with constant coefficients
is the overall time constant
is the initial capacitor value across
General solution

## Slide 63
Finding the Natural Response of RC circuits
1) When
Notice the following:
= = 0.37
This means after one time constant () the capacitor voltage drops to 37% of its initial value of
2) When
= = 0.0067
This means after five time constant () the capacitor voltage drops to 0.67% of its initial value of
The capacitor voltage drops by 63% from its original value
The capacitor voltage drops by 99.33% from its original value

## Slide 64
The natural response for an RL circuits are obtained when the external independent source is set to zero or removed as shown below.
For the natural responses to exist it is required that the inductor have energy stored in it at the moment of switching and the equivalent RL circuits are obtained.
After certain action (switching):
Natural Response RL circuits
No External source
R’s and L’s Only
This circuit will responds naturally due to its L &R equivalent values.
We call it natural response or transient response.
Our goal to find the voltages, currents and power after t > 0.

## Slide 65
IMPORTANT DEFINITIONS
Natural Response of LR circuits
For t < 0, we let
For t > 0, we let
Therefore, for the inductor has these conditions met all the time:
=

## Slide 66
Any given resistive-capacitive circuit without external independent DC sources that can be reduced to a series equivalent L/R circuit.
The general solution for iL(t) is given,
General Natural Response of LR circuits
is the circuit time constant
R: The total resistance seen by the inductor
= is the initial inductor value
across in L.
Simplified circuit

## Slide 67
Example
For the following RC circuit with a DC voltage source. Initially the switch has been connected to position ‘a’ for a long time. At t=0, the switch moved to position ‘b’. Determine:
The voltage response for vC(t), for t≥0,
The current iR1(t) for t>0,
The total energy dissipated in R1 at t=, 5, and ∞.
Variable | Values | Unit
Io | 2 | mA
R1 | 4.5 | kΩ
R2 | 2.4 | kΩ
Ro1 | 8 | kΩ
Ro2 | 16 | kΩ
Ro3 | 24 | kΩ
C | 2.1 | mF

## Slide 68
For t < 0 the capacitor is fully charged. Hence at t=0- we have,

## Slide 69
For t > 0,
Calculating ,

## Slide 70
For t > 0,
Calculating ,
Substituting these values in the default expression,

## Slide 71
The current across the resistor can be calculated as,

## Slide 72
The current across the resistor can be calculated as,
The total energy dissipated in R1 is given by,

## Slide 73
Energy dissipated at different times can be found as,

## Slide 74
Example
In the circuit, the switch has been closed for a long time and opened at t=0. Determine:
The voltage vx(t), and current ix(t) for t ≥ 0,
Energy stored in the capacitor for t = 0,
Energy dissipated in R3 at t = ∞.
Variable | Default | Unit
Io | 4 | A
Ro | 5 | Ω
R1 | 8 | Ω
R2 | 5 | Ω
R3 | 4 | Ω
C | 1.5 | F
 | 5 | -

## Slide 75
For t < 0 the capacitor is fully charged. Hence at t = 0- we have,

## Slide 76
For t < 0 the capacitor is fully charged. Hence at t = 0- we have,
Where,
Applying KVL around the loops,

## Slide 77
For t < 0 the capacitor is fully charged. Hence at t = 0- we have,
Where,
Applying KVL around the loops,
Solving for i2 yields,

## Slide 78
The initial capacitor voltage is given by,
Solving for i2 yields,

## Slide 79
After the switch is opened for t > 0,

## Slide 80
Applying KVL around the loop,
After the switch is opened for t > 0,

## Slide 81
Applying KVL around the loop,
After the switch is opened for t > 0,
Substituting ix, the equation becomes,

## Slide 82
Solving for vx(t),
Where,

## Slide 83
The current ix(t) is calculated as follows,

## Slide 84
The initial energy stored in the capacitor,
The total energy dissipated in R3 is given by,

## Slide 85
For t > 0,
Therefore the time constant is given by,
As t  ∞, the capacitor acts as an open circuit,
The general solution for the forced response of vC(t) is given by,

## Slide 86
Example
The switch in the circuit has been in position ‘a’ for a long time. At t = 0, the switch is moved to position ‘b’. Determine:
The current io(t) for t > 0,
The initial energy stored in L.
Variable | Default | Unit
Io | 25 | mA
Ro | 100 | Ω
R1 | 200 | Ω
R2 | 150 | Ω
L | 10 | mH
α | 3 | -

## Slide 87
For t < 0 the switch has been open for a long time allowing the inductor to act like a short circuit,
Applying KCL at the top node,
Solving for V1,

## Slide 88
For t < 0 the switch has been open for a long time allowing the inductor to act like a short circuit,
Therefore the current iL(0-) is,
Since the current through the inductor doesn’t change instantaneously,

## Slide 89
To find the time constant, we need to find RTh,
Thus the time constant,
RTh seen by the inductor,
For t > 0, the switch closes resulting in a forced RL circuit,

## Slide 90
Phasor technique obtains the steady-state, which significantly reduces mathematical complexity. Unlike the differential equation solution approach that leads to both responses.
All voltage and current responses due to sinusoidal excitation will also be sinusoidal at the same frequency of the excitation signal.
Only their maximum amplitudes and phase shift will be different than the excitation signal.
The phasor impedance refers to the phasor equivalence in complex numbers of the single elements R, L and C expressed as impedance,
The phasor I-V relationship for the three elements is given by,
AC Phasor Analysis Technique

## Slide 91
Powerful analysis techniques such as nodal and mesh analysis can be used in phasor circuits to obtain steady state voltages and currents in AC circuits.
When analyzing phasor circuits, voltage and current sources should be in cosine reference, then we transfer the circuit elements from time-domain to phasor-domain equivalent,
AC Phasor Analysis Technique

## Slide 92
Example
For the given circuit, the voltage input is given by:
Determine the expressions ix(t) and vx(t).
Variable | Default | Unit
Vm | 10 | V
 | 3000 | rad/s
 | π/3 | rad
R1 | 5 | Ω
L1 | 0.2 | mH
L2 | 0.2 | mH
C | 0.8 | mF
 | 8 | 

## Slide 93
First we transform the circuit into the phasor-domain,
It can be seen that the current Ix equals I1 – I2, and that,
Now applying KVL around both loops yields,

## Slide 94
Solving both equations for I1,
Solving both equations for I2,

## Slide 95
Calculating the voltage Vx,
Calculating the voltage Ix,

## Slide 96
Transforming the voltage Vx back to the time-domain yields,
Transforming the voltage Ix back to the time-domain yields,

## Slide 97
Instantaneous power for transient dc RLC circuits and steady state ac circuits.
Average power for purely resistive, purely capacitive, purely inductive, and resistive reactive RLC networks.
Reactive Power
Complex power, apparent power, and the power factor.
Power factor Pf under more details and for different types of load impedance.
Power Calculations

## Slide 98
Instantaneous power, P(t), is measured as the product of the instantaneous current, i(t), and the instantaneous voltage, v(t).
Average Power is the average rate by which energy is being absorbed by a circuit element, it is defined as the average of the instantaneous power, p(t),
Reactive power is power that gets exchanged back and forth in reactive elements; inductors and capacitors, denoted by Q.
Power Calculations

## Slide 99
The instantaneous power, P(t), is measured as the product of the instantaneous currant, i(t), and the instantaneous voltage, v(t).
The unit of instantaneous power, P(t), is watts (W).
Instantaneous Power

## Slide 100
For general RLC circuits,
Where p(t) is the instantaneous power, Pav is the average power being delivered to the network, and Q is the reactive power being stored is the reactive elements.
Power Calculations

## Slide 101
For a general linear RLC circuits with a purely sinusoidal voltage source excitation, , corresponding supplied source current, , the instantaneous power supplied by the source is given by,
The resulting average power supplied by the source,
The integral of the second term is zero over one cycle, therefore,
The Average Power

## Slide 102
To distinguish the average power and the reactive power, we use watts (W) for instantaneous and average (real) power
Reactive Power
When Q is positive then the circuit is inductive and when Q is negative then the circuit is capacitive
Watts (W)
Where as Q is given as the product of volt (V) and amp (I) for reactive power (R) for reactive power – (VAR)
VAR

## Slide 103
Having defined Q, the instantaneous power expressions Pav for capacitors and inductors can be expressed in terms of Q,
So the measure of the power associated with an inductor and capacitor is the reactive power Q.
Q represents the average amount of power that gets exchanged between the source and the rest of the circuit.
Pav represents the measure of the power associated with a resistor.
Reactive Power

## Slide 104
Reactive power In the inductor
=
Since we have,
Recall that the reactive power in any circuit with is given by,
For the inductor,
)
)
Then the Reactive Power in the inductor,

## Slide 105
Reactive power In the inductor
=
Since we have,
Recall that the reactive power in any circuit with is given by,
For the capacitor,
)
)
Then the Reactive Power in the capacitor,

## Slide 106
Complex power contains all the relevant information needed to calculate power delivered to the load, denoted by S, and defined as,
The real part of S is the exactly equal to the average power, and the imaginary part of S is exactly equal to the reactive power.
Substituting for Pave and Q, yields,
Complex Power

## Slide 108: Three phase Voltages Configurations
Wye Connected Source
Delta Connected Source
Neutral Wire
Van = Vp ∠0°
Vbn = Vp ∠ −120°
Vcn = Vp∠ − 240°
Van = Vp∠0°
Vbn = Vp ∠ +120°
Vcn = Vp ∠ + 240°
Van + Vbn + Vcn =0

## Slide 109: Balanced Three phase Loads
Wye-connected load
Delta-connected load
ZY =Z1 = Z2 = Z3
Z∆ =Za = Zb = Zc
Delta-Wye Conversion in Balanced three-phase circuits:
Z∆ = 3ZY
ZY = Z ∆

## Slide 110: Three phase Load Connections
Both the three-phase source and the three-phase load can be connected either in Wye or Delta configurations.
Therefore, we have 4 possible Source-Load connection types.
  Y-Y
  Y-Δ
  Δ-Δ
  Δ-Y

## Slide 111: Typical Balanced Wye-wye Connection
A balanced Y-Y system, showing the source, line and load impedances.
Load Impedance
Source Impedance
Line Impedance

## Slide 112
Practical Example
Complex Power
Power Generation Plant
Simplified Circuit Model

## Slide 113
Practical Example
Complex Power
Power Generation Plant
Bus 1 is the generation bus,
Bus 2 is the load with impedance ZLoad.
Transmission line with a line impedance ZLine:
Numerical Example
In the given 2-bus system circuit, if ZTransformer = 0.4 + j2 Ω, ZLine = 1+j2 Ω, and ZLoad = 20 + j10 Ω. If the load consumes a complex power of SLoad = 40 + j20 kVA.

## Slide 114
Practical Application: Voltage Division Formula
A Wheatstone bridge is a measuring instrument used to measure an unknown electrical resistance.
Unknown
Resistor
Variable resistor
Rx is the unknown resistance to be measured; R1, R2 and R3 are resistors of known resistance and the resistance of R3 is adjustable.
The Wheatstone Bridge

## Slide 118
(foil)

## Slide 119
When all the resistors are equal to R:
Practical Application
- Voltage Division Formula -
= 0

## Slide 120
When all the resistors are equal to R:
Practical Application
- Voltage Division Formula -

## Slide 121
With strain gage is connected,
Practical Application
- Voltage Division Formula -

## Slide 122
Practical Application- Strain Gauge - Voltage Division Formula -
The output of the bridge changes nonlinearly with applied force.
However, R is several hundred ohms, while ∆R is typically 0.01 Ω, a factor of 10,000 times smaller.
So, we assume that
Small strain produced
measurable voltage 