## Slide 1
Which is the fact(s) about the three-phase system?
(a) Power is primarily transferred in a form of balanced three-phase power
(b) Most of exiting three-phase circuits in industry are of the balanced type.
(c) Three-phase transformers are used to step-up and step-down thee-phase voltages.
(d) More economical to deliver power in three-phase circuits than in single- or double-phase circuits.
(e) All of the above

## Slide 2
  Consider the following balanced three-phase circuit with one of the phase-voltage is given by,
  Which of the following completes the remaining voltages for the three-phase Y-source voltage.
(c)
(d)
(e)
(a)
(b)

## Slide 3
  Consider the following balanced three-phase circuit with one of the phase-voltage is given by,
  Which of the following completes the remaining voltages for the three-phase Y-source voltage.
(c)
(d)
(e)
(a)
(b)

## Slide 4
  Consider the following balanced three-phase circuit with one of the phase-voltage is given by,
  Which of the following completes the remaining voltages for the three-phase delta-source voltage.
(c)
(d)
(e)
(a)
(b)

## Slide 5
  Consider the following balanced three-phase circuit with one of the phase-voltage is given by,
  Which of the following completes the remaining voltages for the three-phase delta-source voltage.
(c)
(d)
(e)
(a)
(b)

## Slide 6
  Consider the following balanced Y-source three-phase circuit with the phase-voltages are given by,
  Which of the following is a correct expression for the equivalent Delta-source three-phase voltage,
(d)
(b)
(e) none of the above
(a)
(c)

## Slide 7
  Consider the following balanced Y-source three-phase circuit with the phase-voltages are given by,
  Which of the following is a correct expression for the equivalent Y-source three-phase voltage,
(d)
(b)
(e) none of the above
(a)
(c)

## Slide 8
  Consider the following balanced Y-source three-phase circuit with the phase-voltages are given by,
  Which of the following is a correct expression for the equivalent Y-source three-phase voltage,
(d)
(b)
(e) none of the above
(a)
(c)

## Slide 9
  Consider the following balanced Delta-source three-phase circuit with the phase-voltages are given by,
  Which of the following is a correct expression for the equivalent Y-source three-phase voltage,
(d)
(b)
(e) none of the above
(a)
(c)

## Slide 10
  Consider the following balanced Delta-source three-phase circuit with the phase-voltages are given by,
  Which of the following is a correct expression for the equivalent Y-source three-phase voltage,
(d)
(b)
(e) none of the above
(a)
(c)

## Slide 11
  Consider the following balanced Delta-source three-phase circuit with the phase-voltages are given by,
  Which of the following is a correct expression for the equivalent Y-source three-phase voltage,
(d)
(b)
(e) none of the above
(a)
(c)

## Slide 12: Three phase Circuits
  Which of the following expressions apply to the three-phase circuit shown below,
Va +Vb + Vc =0
Or use the phasor notations:
Ref:

## Slide 13: Three phase Circuits
  Which of the following expressions apply to the three-phase circuit shown below,
Va +Vb + Vc =0
Or use the phasor notations:
Ref:

## Slide 14
  Which of the following expression(s) that apply to the three-phase circuit shown below,
(d)
(b)
(e) All of the above
(a)
(c)

## Slide 15
  Which of the following expression(s) that apply to the three-phase circuit shown below,
(d)
(b)
(e) All of the above
(a)
(c)

## Slide 16
  Which of the following expression(s) that apply to the three-phase circuit shown below,
(d)
(b)
(e) None of the above
(a)
(c)

## Slide 17: 1) Balanced Why-why Connection
  Which of the following expression(s) that apply to the three-phase circuit shown below,
None of the above

## Slide 18
  Which of the following expression(s) that apply to the three-phase circuit shown below,
All of the above

## Slide 19
  Which of the following expression(s) that apply to the three-phase circuit shown below,
All of the above

## Slide 20
  Which of the following expression(s) that apply to the three-phase circuit shown below,
All of the above

## Slide 21
  Which of the following expression(s) that apply to the three-phase circuit shown below,
None of the above

## Slide 22
  Which of the following expression(s) that apply to the three-phase circuit shown below,
All of the above

## Slide 23
  Which of the following expression(s) that apply to the three-phase circuit shown below,
All of the above

## Slide 24
  Which of the following expression(s) that apply to the three-phase circuit shown below,
All of the above
None of the above