## Slide 1: EEL 3004 Linear Circuits I Lecture #3 Circuit Laws: Ohm’s, KVL and KCL Laws

## Slide 2: Lecture Objectives
Ohm’s Law
Kirchhoff's Voltage Law (KVL)
Kirchhoff's Current Law (KCL)
Power Conservation Law

## Slide 3
Ohm’s law provides the relationship between the terminal voltage, v, and the terminal current, i of a resistive element as follows:
Ohm's Law
Then, Ohm’s Law gives the relation between and is linear given by the following equation:
Current enters the resistor at one point and the same current
leaves at another point.
Voltage is the voltage developed (dropped) across R

## Slide 4: 1827
Ohm’s law appears in the famous work:
“The Galvanic circuit investigated mathematically”
Georg Simon Ohm German physicist and mathematician (1789-1854)
Ohm is best known for the law named after him, Ohm’s law, the most simple and widely used law in electricity. He published his law in his famous work, “The Galvanic Circuit investigated mathematically” after his extensive and extraordinary research into the mathematical relationship between voltage (potential), current, and resistance in an electrical circuit. A unit of measuring resistance, the ‘ohm’ is named after him to honor his scientific contributions to electricity.

## Slide 5
Ohm’s Law is also known as the i-v characteristic of the circuit.
Ohm's Law
Linear i-v relationship
A simple circuit with a variable voltage source

## Slide 6
Common sign convention for a voltage drop “” across resistor R in the presence of assigned current flow
Ohm's Law

## Slide 7
Example:
Determine the voltage V across the resistor.

## Slide 8
Example:
Determine the voltage V across the resistor.
dissipated
dissipated
dissipated
dissipated

## Slide 9
Example:
Determine the voltage V across the resistor.

## Slide 10
Solution:
Assign a current with arbitrary direction to R:
2 A
10 Ω
Apply Ohm’s Law,
Note that

## Slide 11
Apply Ohm’s Law,
Solution:
Assign a current with arbitrary direction to R:
Note that
2 A
10 Ω

## Slide 12: Example
Find the current through each resistor and in the circuit shown as indicated. Assume , , , .
Applying Ohm’s law across to find ,
Solution:
Applying Ohm’s law across to find ,

## Slide 13: Kirchoff’s Voltage Law
The algebraic sum of all voltages in a closed circuit is equal to zero.
(KVL is a law of conservation of energy (zero net change in energy).
Where: Vn is the voltage across branch n.
Apply KVL around the loop:
Mathematically, KVL can be written more compactly as follows,
where,
is the voltage of the element for .
Closed circuit - Loop

## Slide 14
KVL - Example of four elements
Write KVL around this 4-element loop?

## Slide 15
KVL - Example of four elements
Write KVL around this 4-elemnt loop?
Starting at one node and return back to the same node:

## Slide 16
Given the circuit, apply KVL to find the current i .
Simple loop electric circuit
Variable | Values | Unit
V | 14 | V
R1 | 15 | Ω
R2 | 20 | Ω
Example

## Slide 17
Solution:
From KVL,
Using Ohm’s Law,
First assign voltage polarities:
Solve for ,
Example - Simple electric circuit

## Slide 18
Example: KVL and Ohm's Law
Determine the current in the resistor.
Solution:
Assign voltage across R as shown.
Apply Ohm’s Law,
To find

## Slide 19
Solution:
Apply Ohm’s Law,
To find
What is you assigned voltage as shown.

## Slide 20
Example: Determine the current in the resistor.
Apply Ohm’s Law:
Solution:
20 V
10 V
10 Ω
Since the two voltage sources are in series, we can combine them into one voltage source.

## Slide 21
Example
Given the circuit shown, apply KVL to find:
The current
The voltage .
 | Default | 
Variables | Values | Unit
R1 | 15 | Ω
R2 | 5 | Ω
R3 | 8 | Ω
R4 | 4 | Ω
V | 25 | V

## Slide 22
Solution A: clockwise direction:
First we need to find
Assign voltage as shown
Apply KVL equation moving in the clockwise direction:
From Ohm’s law
Solve for :

## Slide 23
Solution B: counter-clockwise direction:
First we assign voltage as shown
Apply KVL equation moving in the counter clockwise direction:
From Ohm’s law
Solve for :

## Slide 24
To find , KVL can be applied around the path , as shown
Apply KVL equation:
Solution (con’d)

## Slide 25
Kirchhoff's Current Law
The sum of all currents i1, i2, …in at any node is equal to 0.
Mathematically, KCL is given by,
n
k=1
is the current of the element for .

## Slide 26: Kirchhoff’s Current Law
OR
The total currents flowing in = total currents flowing out.
I1+I4+I5=I2+I3
I+5=3+4+2
I= 4 A
OR

## Slide 27: Kirchoff’s Current Law
The three branches:
Current source (Exciting Force) between nodes a and a’
Resistance R1 between nodes b and b’
Resistance R2 between nodes c and c'
KCL @ upper node: I=iR1 + iR2 or I- iR1 - iR2 =0
Upper node
Lower node
KCL @ lower node: I=iR1 + iR2 or -I+ iR1 + iR2 =0
Example:

## Slide 28
Determine the voltage V across the resistor as shown.
Example: Application of Ohm's Law
2A
1A
10Ω

## Slide 29
Determine the voltage V across the resistor as shown.
Example: Application of Ohm's Law
Solution:
Since the two current sources are in parallel, we can combine them into one current source.
Apply Ohm’s Law,

## Slide 30
Simple electric circuit
Variable | Values | Unit
I | 1 | mA
R1 | 5 | kΩ
R2 | 3 | kΩ
R3 | 4 | kΩ
Given the circuit, apply KCL to find the current iR2.
Example

## Slide 31: Example
Simple electric circuit
Solving for current iR2 using Ohm’s Law,
Solution:
Assign currents and voltages.
Applying KCL at node “A”,
Voltage across all resistors is equal,
Solving for voltage v,

## Slide 32: Kirchoff’s Current Law
KCL also extends to surfaces of planar circuits.
KCL is a statement of conversation of charge, i.e., no charge is being generated or destroyed as a result of current flow.

## Slide 33
Power Conservation in Circuits
The Law of Conservation of Power:
The total power supplied or delivered should always equal to the total power dissipated or absorbed in any stand-alone circuit.
Supplied (delivered) Power = absorbed (dissipated) Power
General Electrical Network

## Slide 34
Example - Conservation of Power
For the circuit below, use the power balance to find the value of the current 𝑖 as shown.
+12-6+10=0

## Slide 35
Example - Conservation of Power
For given V=10 V, i = 2 A, v2 = 3 V and α = 0.5 in the figure below, find the power delivered or absorbed by each source.
How much power is dissipated in the two resistors?

## Slide 36
Example
Solution:
The power in the independent voltage source is given by,
supplied (delivered)
Power in the dependent voltage source:
absorbed (dissipated)
Since the conservation of power requires that the total power supplied or delivered should equal the total power dissipated or absorbed, then we mush have the remaining dissipated power in the two resistors be 20W-3W=17 W.

## Slide 37
Determine the value of in the circuit shown below. Assume the values are given as follows: , , and
Example – KVL & KCL

## Slide 38
Solution:
Example – KVL & KCL
The Unknows: ,
If you can solve for then you can find from Ohm’s Law
Plan of attack:
Assign currents and since we have two loops.
Then use KCL, KVL and Ohm’s Laws to get one equation from each.
You need three equations to solve for the three unknows.

## Slide 39
Solution:
Example – KVL & KCL
Apply KCL at node X
Apply KVL around the second loop
Apply Ohm’s Law
Solve for ,

## Slide 40
For the circuit below, use KVL, KCL and Ohm’s law to determine
Practice – KVL & KCL

## Slide 41: Practical Relevance Example - Christmas Lights
Christmas lights are strands of electric lights used to decorate homes, buildings and Christmas trees during the Christmas season.
The types of lamps used in Christmas lighting sets may be based on a variety of technologies. Common lamp types are incandescent light bulbs and light-emitting diodes (LEDs).
Figure 3.1: (a) Commercial (Residential) Applications of Christmas lights, (b) one strand or string of lights

## Slide 42: Practical Relevance Example - Christmas Lights
Christmas lights are connected in series to one voltage source, and the same current flows through each element of the circuit. Christmas lights are strands of electric lights used to decorate homes, buildings and Christmas trees during the Christmas season.
The types of lamps used in Christmas lighting sets may be based on a variety of technologies. Common lamp types are incandescent light bulbs and light-emitting diodes (LEDs).
Figure 3.1: (a) Commercial (Residential) Applications of Christmas lights, (b) one strand or string of lights

## Slide 43: Series Connected Strands - model
The Christmas lights are connected in series; the elements are connected one after the other. Only the lead to the 1st element and the return lead from the last element are connected to the voltage source
Schematic Representation of Christmas light chain, (b) Simplified circuit model of Christmas lights connected in series

## Slide 44: Parallel Connected Strands - model
When Christmas lights are connected in parallel configuration, then each light has its own closed-loop circuit as shown in the fifty lights example of Fig. 2.92(a).
Schematic Representation of parallel strand Christmas light chain, Simplified circuit model of Christmas lights connected in series

## Slide 45: Example of 50 Lights
As a numerical example, consider a Christmas lights circuit in which a total of 50 bulbs are connected in series to a voltage source
Christmas lights schematic with 50 light bulbs
What is the current I?

## Slide 46
Solving for ,
The voltage drop across each bulb is the same and is given by
Example of 50 Lights
Solution:
Since the equivalent circuit represents a single loop circuit, we write one the KVL eq.