## Slide 1: Example 3.8
Figure 3.14 shows a circuit and its model with a voltage source (Vs) supplying a load, represented by a resistance , that is located 3 miles away from the source Vs. The voltage source and the load are connected by a long copper wire that has a resistance value that is measured at 0.2 Ω/1000ft. Consider the case with Vs =100 V, and is the total equivalent resistance for the copper wire as shown in Fig. 3.14(b), where is the total resistance for the copper wire.
If we desire that the voltage at the load bank be set at least VL = 80 V, will this setup work? Why? What should we do to make it work?
Figure 3.14 Power System consisting of a voltage source supply electric load three miles away
simplified electrical equivalent model

## Slide 2: Solution
Given:
Voltage source:
The Load Bank:
Distance of wire between Vs and : 3 miles
Copper Wire Resistance:
Desired Load Bank Voltage:

## Slide 3: Solution
First calculate the equivalent resistance for a 3-mile copper wire:
The length of the copper wire (L) in feet is given by.
Then, the total equivalent resistance for the copper wire is:
Since the equivalent circuit represents a single loop circuit, we write one the KVL eq.
Solving for the resultant load current ,

## Slide 4: Solution
Using Ohm’s law, the load voltage is given by,
The resultant load voltage is below the desired value of VL = 80 V.
Unfortunately, this setup will not deliver the required load voltage, hence it will not work.

## Slide 5: Solution
For this setup to work, we have three options:
  move the load closer to the source , i.e less than 2 miles,
  increase the source voltage Vs above 100V,
  change the copper wire with one has less line resistance/feet.
Options 1 and 2 are too difficult, costly and maybe not practical, as they are part of condition of the source and load.
This leaves with Option 3!
What should the measured value Ω/1000ft of the new cable?
What should the load current be for VL = 80 V?
!
We need at least 8A reach the load!

## Slide 6: Solution
From KVL we have,
Solving for the value of the copper resistance,
For a (3 mile) length of the copper wire (L), the maximum wire resistance/feet that can be used: