## Slide 1: EEL 5245 POWER ELECTRONICS I Lecture #2 Introduction to Power Electronics

## Slide 2: Introduction to Power Electronics I
Definition of Power Electronics
Industry Overview and Market Share Analysis
Multidisciplinary Nature of the Field
Block Diagrams of Power Electronic Systems
The Need for Power Electronics
Types of Power Conversion
Need for Control
Figures of Merit for Power Electronic Converters
Future Trends
Agenda

## Slide 4: What is Power Electronics?
Electronics: Solid State Electronics Devices and their Driving Circuits.
Power: Static and Dynamic Requirements for Generation, Conversion and Transmission of Power.
Control: The Steady State and Dynamic Stability of the Closed Loop system.
POWER ELECTRONICS may be defined as:
The application of Solid State Electronics for the Control and conversion of Power.

## Slide 5: Multidisciplinary Nature of Power Electronics
Power electronics comprised of several disciplines:
  Semiconductor Devices
  Analog Circuits
  Control Design
  Magnetics
  Electric Machines
  Power Systems Engineering
  Circuit Simulation
  Communications and networking
  Storage

## Slide 6: Power Electronics In terms of topical areas

## Slide 7: Power Electronics In terms of Fundamental Functions

## Slide 8
Power Electronics as an Enabler
Technology

## Slide 9
Power Electronics is the Interface Technology – Physical and Virtual
Controller

## Slide 10
Power Electronics as an Enabler
Technology
Power electronics is considered as one of the most vibrant technology sectors due to ever increasing applications in renewable energy, computing, sensing and communication, IoT and because of its overlap with many other industry verticals.
From interfacing a mobile phone battery, hybrid cars wheels, power plant power generation and distribution to a nuclear reactor.
Require efficient power handling, from mW to GW!
To facilitate the transfer and conditioning of power from the source to the load.
To be achieved with less cost, high energy-efficiency, high power density, high reliability and neatly.

## Slide 11
Power electronic systems are everywhere
Projected that by 2030, 80% of electricity could flow through power electronics at generation, storage, transmission, distribution, and end use
Figure Source: Power Electronics for Renewable and Distributed Energy Systems, Eds. S. Chakraborty, M.G. Simoes, W. Kramer; Springer 2013 (Chapter 2 – Fundamentals of Power Electronics)
Power Electronics as an Enabler Technology

## Slide 12: Power Electronics – Market
Source: MarketstandMarkets Analysis
Expected to grow from $35 billion in 2013 to $50 billion in 2026.
Estimated growth of 7.74% from 2014 to 2020.

## Slide 13
Power Electronics Applications

## Slide 14: Applications Areas
Renewables: Solar Energy & Wind Conversion (PV)
Switch Mode Power Supplies (SMPS)
  PFC
  Universal Input
  Soft-Switching
LED Drivers
Uninterruptible Power Supplies
Grid Forming and Resiliency
Process Control
  DC and AC outputs
  Motor Drives

## Slide 15
Applications – Renewable Energy

## Slide 16
Applications – Industrial

## Slide 17
Utility
24 V (dc)
5 V (dc)
3.3 V (dc)
0.5 V (dc)
Applications – Communications
Sensing/IoT/cloud/data centers/AI

## Slide 18
Power Electronics in Solar Energy
Microinverters Module inverters
(DC optimizers - Not
an inverter but part of the system)
Residential inverters string inverters
Central inverters
Figure Source: http://solarbridgetech.com/products/our-solution/pantheon2/ Accessed March 10, 2015
More on power electronics for Solar Energy can be found at: proceedings from the DOE-NREL-NETL-ORNL workshop titled “Enabling High Penetration PV Solar through Next Generation Power Electronic Technologies,” October 11-12, 2016. https://energy.gov/eere/sunshot/downloads/2016-systems- integration-power-electronics-workshop
Figure Sources: www.solectria.com Accessed March 10, 2015
Microinverter mounted on PV module

## Slide 19
Globally, there are 270 pumped hydroelectric storage (PHS) stations either operating or under construction.
This represents a combined generating capacity of over 120,000 megawatts (MW).
Of these total installations, 36 units consist of variable- speed machines
A double-fed induction motor- generator is the current standard design for variable- speed machines.
Source: http://energystorage.org/energy- storage/technologies/variable-speed-pumped-hydroelectric-
Source: https://www.icef- forum.org/platform/speakers/topic1/CS2_5_Yoshiro_Owadan o_161007.pdf
5
Power Electronics in Hydro Power

## Slide 20
input command (speed / position)
Block diagram of adjustable speed drives.
Power Processing Unit (PPU)
fixed
form
measured
speed/ position
speed / position
Motor
Electric Drive
Load
Power
Signal
adjustable form
Electric Source
(utility)
Sensors
Controller
Power Electronics – Adjustable Speed Drives

## Slide 21
Electric Warship
More Electric Aircraft
Source: James Soeder, NASA and Terry Ericsen, ONR.
Power Electronics – Space & Defense

## Slide 22
ICT Energy Needs….Big Data has arrived

## Slide 23
Renewable Energy Systems: The Growth

## Slide 24: Solar is the Answer … Looking up !
Inexhaustible
Near Zero impact on environment
The technology is ready
Proven economic feasibility.
Highly flexible
No water
Foreseen improvements in grid integration
Easy to integrate with batteries
Earth’s Energy Resources
Notes: http://www.dailymail.co.uk/news/article-2055520/Feed-tariffs-Entire-area-Nottingham-gets-solar-panels-fitted-roofs.html
http://www.treehugger.com/solar-technology/powering-20000-homes-the-worlds-largest-pv-solar-farm-opens.html
http://www.motherjones.com/blue-marble/2015/07/obama-just-made-it-easier-low-income-communities-go-solar

## Slide 25: Global Energy Targets
https://www.ren21.net/wp-content/uploads/2019/05/gsr_2020_presentation.pdf

## Slide 26: World Total Solar PV Market Scenario 2017-2021
Selected from Global Market Outlook for Solar Power/2017-2021
+300GW milestone was reached in 2016
Exceed 400 GW in 2018
500 GW in 2019
600 GW in 2020
700 GW in 2021
（in medium scenario）
With the top 3 solar countries responsible for over 75% of global demand in 2016
（One major country’s policy
decision will affect ）
Steady Growth Rate Avg 15% in Solar over past 15 years !!!
+37 GW
+70 GW
+ 97 GW

## Slide 27
Global Renewable Electricity Capacity additions, 2001-2027
https://www.iea.org/reports/renewables-2022/executive-summary#

## Slide 28
Global electricity generation by technology
2015, 2021 and 2027
https://www.iea.org/reports/renewables-2022/executive-summary#

## Slide 29
Share of cumulative power capacity by technology
2010-2027
https://www.iea.org/reports/renewables-2022/executive-summary#

## Slide 30: Solar Electricity Generation Cost in Comparison with Other Power Sources
Selected from Global Market Outlook for Solar Power/2017-2021
When companies borrow funds from outside lenders, the interest paid on these funds is called the cost of debt
The cost of equity is inferred by comparing the investment to other investments (comparable) with similar risk profiles
Utility-scale solar is today already cheaper than new CCGT, coal and nuclear power plants.
Notes: Cost of Equity (CoE)
Cost of Debt (CoD)

## Slide 31: The world market for PV is mainly driven by utility Scale and Large Commercial Installations

## Slide 32: Cumulative U.S. Solar Installations
https://www.seia.org/solar-industry-research-data

## Slide 33: Solar PV Market Market 2020-2-3- $ Billion
https://www.precedenceresearch.com/solar-photovoltaic-market

## Slide 34
U.S. Solar PV Pricing Trends & Deployment Growth
https://www.seia.org/solar-industry-research-data

## Slide 35
U.S. Annual Additions of New Electric Generating Capacity
https://www.seia.org/solar-industry-research-data

## Slide 36
Cumulative U.S. Solar Installations by State
https://www.seia.org/solar-industry-research-data

## Slide 37
US Annual Residential Solar PV Installations
https://www.seia.org/solar-industry-research-data

## Slide 38
U.S. Solar PV Deployment Forecast
https://www.seia.org/solar-industry-research-data

## Slide 39
The cumulative production
Doubled, the price went down by 23% for last 35 years
Ref: PHOTOVOLTAICS REPORT Frauhofer Institute for Solar Energy
Prices trends for Solar PV module

## Slide 40
Solar and energy storage are complementary and
both are dropping in cost

## Slide 41
Prices for Solar PV and Wind Onshore Power Plants in
Different Countries
Selected from Global Market Outlook for Solar Power/2017-2021
2.4US cents/kWh : the world’s
Lowest solar supply contract
signed in 2016, Sweihan project
In UAE

## Slide 42: Three-Phase Low-power Dominates
Chart: Shipments in MW
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Microinverter | 691.6662 | 833.96 | 1018.4236 | 1467.3247 | 2125.8869 | 2897.9447 | 3367.8727
Single phase | 7841.2239 | 7929.7458 | 6956.1798 | 8704.2316 | 9557.9662 | 10699.1765 | 11207.5723
Three phase, low power | 9873.9201 | 17401.9453 | 23512.7895 | 26413.6168 | 30891.6384 | 38986.5794 | 46646.6048
Three phase, high power | 25577.5807 | 35204.666 | 39799.906 | 37258.162 | 35805.5596 | 36586.0675 | 36044.1877
µInverter
Optimizer
All PV Modules
With 3 to 5 Bypass Diodes
PV Module Level Power Electronics

## Slide 43: Strong price decline continues, low and high power approach similar price line
Chart: Price per Watt [$]
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Three phase, low power | 0.15429 | 0.1073 | 0.078525 | 0.077144 | 0.072814 | 0.065583 | 0.059516
Three phase, high power | 0.1015 | 0.074467 | 0.062674 | 0.06017 | 0.054728 | 0.050469 | 0.04654
Single phase | 0.25982 | 0.23659 | 0.21817 | 0.18751 | 0.16801 | 0.15287 | 0.13661
Microinverter | 0.46613 | 0.41902 | 0.36151 | 0.2779 | 0.23531 | 0.2107 | 0.18737

## Slide 44: Where the PV market heading?
The Past (2010)
The Present (2020)
The Future (2030)
Deployment
Integration
PV Module Prices
$2-$3/W $0.37/W $0.23/W
10+ TWh 300+ TWh 2000+ TWh
10+ GW 300+ GW 1000+ GW
Global PV Generation
Global PV Installations

## Slide 45
Predicting the Future Energy Growth and grid Evolution

## Slide 48
EV Charging

## Slide 52
Future Grid System Nodes – Europe

## Slide 55
Courtesy of NREL

## Slide 56
Electrification – The Power Grid

## Slide 58: U.S. Electric Grid Today
Sources: EIA, EEI
http://www.nerc.com
850GW baseload, 1250 GW summer peak, 7,000 operational power plants
3,200 utilities, 60k substations, 642k miles of HV transmission lines, 6.2 million miles of distribution circuit, 159 million customers.
In 2015, total U.S. electricity generation was 4.1 Trillion kWh
Increasing NG and renewable generation (6.1% hydropower and 7.3% from wind and solar)
Revenues reaching $400 b
Major grid infrastructure is aging
Accelerating retirements of coal
fired power plants
T&D congestion starting to
impact deployment of renewables
Babu Chalamala, Sandia National Laboratories
Notes: Let us look at the US electric grid as we know. It is a unique interconnected system and has been a 100+ year build out to what it is today. The electric grid is a big machine. Any changes in the electricity infrastructure are slow. Any major transitions in energy have long cycles.
Looking at the US electric grid, we have a baseload of ~850GW, with a 1250 GW summer peak. Across the country, there are about 7000 power plants with at least 1 MW of nameplate capacity. There is also additional 700GW of captive capacity at industrial plants.
In addition to the 3000 utilities, roughly 80 larger IOUs, and rest are municipal utilities and coops. IOUs and munis account for 80% of capacity, where as the coops account for almost 20% of consumption, 80% of the geographical area and a large chunk of the distribution circuit.

## Slide 59
Capacity Additions and Retirements
The Grid Transformation

## Slide 60
Grid Evolution
Substation
Transmission
Power Plant
Distribution
PHEV
PHEV
Courtesy of Gluon.Power

## Slide 61
Grid Evolution
Substation
Transmission
Power Plant
Distribution
PHEV
PHEV
Courtesy of Gluon.Power
Opportunity for innovation

## Slide 62
Power Electronics Systems

## Slide 63
Traditional power conversion
  Linear Electronics- Transistors in active mode (linear region)
    Transistor acts as variable resistor for control
    Terrible efficiency (50% not uncommon)
    Low conversion range (greater Vd smaller efficiency)
    Low power applications
  Motor-Generator Sets (AC-DC or AC-AC)
    Can still be found in use
    Large physical size
    Maintenance intensive
    Low efficiency
    Poor Load regulation
Power Electronics: A Historical Perspective

## Slide 64
Simplified Block Diagram of Power Electronics System

## Slide 65
Detailed Block Diagram of Power Electronics System

## Slide 66
Typical PC Power Supply Conversion Block Diagram

## Slide 67
Power Electronic systems perform one or more of the following conversion functions:
a)Rectification (ac-to-dc)
b) Inversion (dc-to-ac)
c) Cycloconversion
(ac-to-ac different frequencies) or
(ac-to-ac same frequency)
d) Conversion (dc-to-dc)
Conversion Type Description

## Slide 68: Power Flow Unidirectional: input-to-output

## Slide 69: Power Flow – Bi-directional

## Slide 70: Example of Non-isolated DC-DC Converter Continuous Conduction Mode (CCM)
Principles of Steady State Converter Analysis
  Definition of Steady State
  Inductor Volt-Second Balance
  Capacitor Charge Balance
  Small Ripple Approximation
  Average Values in Steady State
  Use of Power Conservation Principle in Converter Analysis
Application of Analysis Techniques to Classic Converter Topologies
  Buck, Boost, and Buck Boost
Analysis of Fourth Order Converters

## Slide 71: Course Content Overview: Non-isolated DC-DC Converters Discontinuous Conduction Mode (DCM)
Description of DCM
At what operating condition does DCM occur?
Application of Steady State Analysis Principles to Converters in DCM
  Buck
  Boost
  Buck-Boost
  Cuk
Properties of Converters in DCM

## Slide 72
Example - Classic Inverter Scheme

## Slide 73
The Need for Switching in Power Electronic Circuits
Efficiency Example Comparing Power Supply Designs
Ideal Switch Discussion
Ideal Switch Types
Practical Switch Characteristics
Switching concepts

## Slide 74
Discussion of Available Power Semiconductor Devices
  Power Diode
  BJT
  Power MOSFET
  IGBT
  SCR
  GTO
  TRIAC
Focus on Device i-v Characteristics
Comparison of Switching Devices
Survey of Commercially Available Devices
Future Trends
Semiconductor Device Overview

## Slide 76: Figures of Merit for Power Electronic Converters
What is the objective?
  Overall goal: To produce a converter that performs well in these areas:
    Efficiency
    Transient Response
    Load and Line Regulation
    Power Density
    Input/Output Distortion (Input Power Factor)
    Reliability (MTBF)
    Cost
  In the final analysis, the job is to process and control the flow of electric energy by supplying currents/voltages in a form most suited to both the load and energy source

## Slide 77: Modern Power Electronics
Can have efficiencies approaching 100%
  Uses switches in saturation mode (On of Off)
  On state-resistance can be down in tenths of Ohms
Are much smaller than predecessors
  High switching frequency means smaller magnetic components.
  Reduced losses means smaller package size
Net effect is better efficiency, greater power density (10’sW/in^3 attainable)

## Slide 78: Today’s Barriers to Scalable PV+Storage
The revenue models are not clear
PV module improvements in efficiency and cost alone will not accomplish the anticipated revenue model
Complex installation, maintance and Expensive Value Chain
PV Generation and Load Profile Mismatch
PV Intermittency
Battery Operation at high ambient Temperature
Why the Battery + PV Integration has not taken off yet.

## Slide 79: Scaling the Global Innovation
The Energy Access Challenge

## Slide 80: The Energy Access Challenge

## Slide 81: The Energy Access Challenge

## Slide 82: The Energy Access Challenge

## Slide 83: The Energy Access Challenge

## Slide 84: The Energy Access Challenge

## Slide 85: The Energy Access Challenge

## Slide 86
Thank you
www.empowerabillionlives.org